## Limiares
Thresholds General Table - LiderA V4.00a
Assessments
|  |  |  | Lines of good practice | Thresholds Basis | Units | A++ | A+ | A | B | C | D | E | F | G | Objective
Local Integration (Habitat) | Soil | P1 | Territorial organization | Territorial organization that allows balanced development of the territory. Analyze the state and the use of the soil to intervene. Determine the restrictions and guidelines of the Land Use Plans. Systematize | Construction or insertion in: 1. In urban areas with contaminated soil (old factories, example of Parque das Nações) which should be decontaminated (3 credits); 2. In urban voids, in degraded or abandoned areas of blocks (2 credits); 3. In infrastructures of sewage and water networks (1 credit); 4.Rehabilitate in zones defined with this vocation in the PDM (2 credits) in special and the areas considered priority (adds 2 credits); 5. Contribute to the public space or identity of the place (2 credits). | No. credits | It satisfies 6 credits (covering decontamination or structural restructuring) | It satisfies 6 credits | It satisfies 5 credits | It satisfies 4 credits | It satisfies 3 credits | It satisfies 2 credits | It satisfies 1 credit |  |  | Develop territorially. Promote the use of sites already with intervention that need rehabilitation or infrastructure.
|  | P2 | Enhance soil functions | Ensure the natural functions in the soil (infiltration, vegetative support). Ensure a percentage of permeable area of the soil against the total of the lot or zone. | Determine the percentage of permeable area of the soil versus the total of the lot. | Permeable soil percentage (free) | ≥ 80% free soil | [70-80[ % free soil | [60-70[ % free soil | [50-60[ % free soil | [40-50[ % free soil | [30-40[ % free soil | [20-30[ % free soil | [10-20[ % free soil |  | Ensure the natural functions of soil. Reduce occupation of the whole lot or area to ensure soil functions.
| Natural Ecosystems | P3 | Ecological valorisation | Development should enhance local ecological value: all local fauna and flora species (particularly endemic) should be preserved, therefore allowing an increase of the area’s ecological biodiversity. | Check the percentage of green area against the total area of the lot. Number of credits: 1. Number of native or adapted (tree-only) species maintained and / or introduced and their biodiversity »[0 - 3] - 1 credit; »[4 - 6] - 2 credits; »[6 - 9] - 3 credits; »[10 - 12] - 4 credits; »> 12 - 5 credits 2. Occupation of previously accounted species (count treetops area against total green area): »[0-50 [% of area - the assigned rating is maintained »[50-100 [% of area - we add 4 credits to the previously obtained in the number of species 4. Ensure control mechanisms for invasive species (2 credits) 5. Mechanisms for maintenance and development of biodiversity (2 credits). 5. Integration of solutions into the regional or local biodiversity strategy (2 credits) | No. credits | ≥ 60% of the lot with green areas and fulfillment of 8 credits | [50-60[ % of the lot with green areas and fulfillment of 6 credits | [40-50[ % of the lot with green areas and fulfillment of 5 credits | [30-40[ % of the lot with green areas and fulfillment of 4 credits | [20-30[ % of the lot with green areas and fulfillment of 3 credits | [10-20[ % of the lot with green areas and fulfillment of 2 credits | [0-10[ % of the lot with green areas and fulfillment of 1 credits | There is the existence of 1 negative credit | There is the existence of 2 negative credit | Promote local ecological value, include vegetation and local or adapted species.
|  | P4 | Ecosystems services | Promoting a continuous green structure in surrounding areas: green roofs, green facades, trees and green spaces, in order to ease the interconnection of habitats. Avoiding barriers/obstacles between physical habitats or within the same habitat, introducing new structures (burrows, nests, etc.) that encourage species development. | Ensure a plan to ensure long-term biodiversity and natural services (bonus). 1. Ecosystem services provided: a) Creation and maintenance of diverse habitats (2 credits), (b) Laying of structures (lakes, burrows, nests, etc.) favoring the development of species, special channels for the passage of small animals through the ground and nets with openings that allow the circulation of insects (2 credits) c) Other services (2 credits) a) Climate mitigation and shadow (2 credits); Reduction of fragmentation perimeter of contact with lot exterior: 2. Design of links and continuity through: »Afforestation (2 credits), »Permeable green spaces (2 credits), »Green facades (1 credit), »Green hedges (1 credit). 3. Number and range of connections: (values ​​referring to green connections up to half of the lot, if the crossing completely doubles the values) »1 connection (1 credit) »2-4 connections (2 credits) »More than 4 connections (3 credits) 4. Promote the various services of the ecosystems (4 credits) 5. Quantification and Information on ecosystem services provided (2 credits per each) | No. credits and perimeter of contact with outside of the lot | »Satisfies at least 10 credits »Corridor contact perimeter [80 - 100 [% with lot boundaries | »Satisfies at least 8 credits »Corridor contact perimeter [60 - 80 [% with lot boundaries | »Satisfies at least 4 credits »Corridor contact perimeter [40 - 60 [% with lot boundaries | »Satisfies at least 3 credits »Corridor contact perimeter [20 - 40 [% with lot boundaries | »Satisfies at least 2 credits »Corridor contact perimeter [10 - 20 [% with lot boundaries | »Satisfies at least 1 credit »Corridor contact perimeter [0 - 10 [% with lot boundaries | » Does not satisfy any measures. |  |  | Increase ecosystem services and their interconnection between different zones, including with the surrounding.
| Landscape and Heritage | P5 | Landscape valorisation | Fostering landscape integration or enhancement | For each point 1 credit: 1. Volumetry: a. height similar to the average in place (height 2 floors higher or lower than the average of the block); b. visual insertion in the surrounding (in a mountainous area the typically mountainous construction, construction in the Alentejo with typical Alentejo construction, construction in a historical area or maintain the type of façade of the area, etc.); For each point 1 credit: 2. Colors and Materials: a. The use of a color pallet within the existing on-site; b. Use of materials according to those typically used in the surroundings; 3. Create aesthetic value of the landscape (contribution to the urban network) - 3 credits. | No. credits applied | Compliance for more than 6 applicable parameters | Compliance for 6 of the applicable parameters | Compliance for 4 of the applicable parameters | Compliance for 3 of the applicable parameters | Compliance for 2 of the applicable parameters | Compliance for one of the applicable parameters (except colors) | Fulfillment of the integration for the pallet of colors | No compliance with any of the applicable parameters |  | Contribute to enhance landscape, integrating local elements and qualifying architecturally and culturally.
|  | P6 | Built heritage valorisation | Preserving the buildings with value - Formal relationship of the building with the surrounding heritage (built) and suitability of the use to the type of environment. Life cycle impact reduction (preservation and reuse of materials). Evaluate the global life cycle. | Evaluate and quantify the measures that at the level of the building contribute to the preservation and appreciation of the surrounding heritage. | Preserved edified areas | Ensures good conditions of conservation classified property; Structural restoration in classified property | Ensures good conservation conditions in situations where the building has interesting aspects to be preserved National / Municipal; Rehabilitated (75%) | Ensures good conservation conditions for the current building in the whole area required to intervene; Rehabilitated 50% | Ensures good conservation conditions for the current building in 75% of the area required to intervene; Municipal classified heritage in need of conservation | Ensures good conservation conditions for the current building in 50% of the area required to intervene; Unclassified patrimony (facades and interiors with specific credit needs for more than 10 years) | Ensures good conservation conditions for the current building in 25% of the area required to intervene; Preserves but unclassified patrimony (façades and interiors with specific credit needs of more than 5 years) | It is not preserved or requalified, but maintains existing building or new building. |  | Elimination of all patrimonial traces | Contribute to enhancement of built heritage, promoting the use of materials and built buildings (rehabilitate).
Resources (Flows) | Energy | P7 | Passive Performance | Adopt bioclimatic and passive solar performance practices, covering Passive house criteria. | Option 1 - Bioclimatic passive performance Classification Passive House A +; Or classification in PHPP, if conjugated with optional solutions of natural ventilation A ++. Option 2 - Percentage of the building with proven bioclimatic behavior in a preferably dynamic model (scale factors of the classes of Leadership) Option 3 - Prescriptive: List all measures implemented as a way to reduce energy costs, assessing their benefits - Applicable parameters: 1. Situation / Organization favorable to other buildings or natural conditions (1 credit); 2. South orientation (1 credit if it is in [0 - 25]% of the main divisions, 2 credits in] 25 - 50]% of the divisions, 3 credits in] 50 - 75]% of the divisions, 4 credits in] 75 - 100]% of the main divisions); 3. Factor form (which guarantees the lowest A ratio / Inner Volume), at least 1.21 - 1 credit; 4.Insolations: a. Appropriate thermal insulation (minimum wall double with 6 cm insulation) - 1 credit, if external - 2 credits; b. Adequate coverage insulation (1 credit); 5. Thermal mass of the medium to strong structure (1 credit), that is, use in the structure or even inside elements of strong inertia: adobe, earth, concrete masonry, masses of water accumulation, 6. Spans: a. Interior shading (1 credit if [0 - 50]% of glazed spans, 2 credits in] 50 - 100]% of glazed spans) if outside counts double the quantified credits; b. Glass: (double and with adequate heat transfer coefficient (according to REH), or good performance glazing) - 1 credit; c. Frames (with airtightness leakage, adequate thermal transmission coefficient and thermal cut-off (according to the REH)) - 1 credit; d. Selective fenestration (both at the level of the glazed area vs. orientation, and A spans / A pavement) (1 credit); 7. Minimization or elimination of thermal bridges (1 credit); 8. Adequate ventilation (1 credit), ie natural cross. Ventilation strategy. 9. Introduction of passive systems: thrombus wall, geothermal, greenhouse effect, among others (1 credit if [0-50]% of main divisions, 2 credits] 50 - 100]% of divisions). 10. Daylight strategy for more than 80% of the areas (2 credits). | No. credits or Passive House certification | Compliance with 18 credits or more than those listed, with at least 6 credits being due to south orientation, isolation or fenestration | Compliance of 15 credits, with at least 4 credits being due to south orientation, fenestration or isolation | Compliance of 12 credits, with at least 2 credits due to south orientation or isolation | Compliance with 8 credits | Compliance with 6 credits | Compliance of 4 credits | Compliance with 2 credits | Compliance with 1 credit | No fulfilled credit | Ensure bioclimatic performance. Improve the passive performance of the building.
|  | P8 | Energy Systems | Reduce energy consumption - monitoring of energy consumption and verification of energy certification values. | Minimum values in accordance with REH and RECS of SCE and values related to certificates of energy efficiency or levels of energy efficiency. kWh / m2 / year Energy management and storage systems. Connection to electric mobility (bonus). | Class assigned in the energy efficiency certificate | A+ (more than 80% performance) | A+ (up to 80% performance) | A | B | (B-) | C/D | E | F | G | Ensure energy efficiency in energy systems.
|  | P9 | Carbon management | Reducing the level of CO2 emissions from renewable energy sources and the amount of energy produced in total | Reduce CO2 and GEE emissions and determine the existence of efficient equipment: 1. Percentage of renewable energies establishing percentages for each level and type of equipment; DWS, Photovoltaic; Biomass; Wind, Geothermal. The class is LiderA's global scale. or 2. Define number of existing equipment (household appliances, lamps ...), what is its energy efficiency classification; 3. Determine which CO2 emissions (and / or other pollutants contribute to the greenhouse effect); 4. Acquisition of carbon credits for every 10% - 1 credit up to a limit of 40%. | Percentage of energy assured by systems from renewable sources in the local and surrounding (Neighborhood or Zone); or Determination of the level of CO2 emissions (CO2 emissions calculated on the basis of fuel type: between level 1 credit for emissions ≤60 and level 5 for emissions 0 kg / (m2.year)) Nível de eficiência energética de cada equipamento (frigorífico; congelador, combinados, iluminação; aquecimento; audiovisuais; máquina de lavar roupa; máquina de lavar loiça; máquina de secar roupa; equipamentos informáticos; arrefecimento; sistemas de AQS elétricos; elevadores; iluminação em espaços comuns) | »[90 - 100]% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); »[0 - 10] kg / m2 year of CO2 emissions; »All equipment is of high energy efficiency or classified with level A of energy labeling. | »[75-90 [% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); '] 10 - 20] kg / m2 year of CO2 emissions; »Most of the equipment is of high energy efficiency or classified with level A of energy labeling. | »[50 - 75 [% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); '] 20 - 25] kg / m2 year of CO2 emissions; »Most equipment is rated with the energy labeling level greater than or equal to B. | »[37.5 - 50 [% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); 25] 27] kg / m2 year of CO2 emissions; »Most equipment is rated with the energy labeling level greater than or equal to B. | »[25 - 37,5% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); '] 27 - 30] kg / m2 year of CO2 emissions »Most equipment is classified with the level of energy labeling greater than or equal to C. | »[12.5 - 25 [% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); 30 to 35] kg / m2 year of CO2 emissions; »Most equipment is classified with the level of energy labeling greater than or equal to D. | »[0 - 12.5 [% of energy consumption through renewable sources (solar, photovoltaic, wind, biomass, geothermal); '] 35 - 45] kg / m2 year of CO2 emissions »Most of the equipment is classified with level E of energy labeling. | ] 45 - 60] kg / m2 year of CO2 emissions »Most equipment is rated with the F level of energy labeling. | > 60 kg / m2 year of CO2 emissions »Most equipment is rated with the F level of energy labeling. | Contributing to reduce carbon emissions. Use renewable energy and low carbon solutions.
| Water | P 10 | Moderate water use | Ensure water efficiency, reduce the consumption of primary water from the Public Supply Network by defining potable water consumption in liters per inhabitant (or equivalent) by reading the consumption from the public water supply or from extraction of a body of water using public accountants or own or carrying out simulations that estimate such consumption. To adopt systems that have high levels of water certification (A, A +, A ++) | Reduce drinking water consumption levels as main and secondary goals reduce other uses. Studies in the project that make its consideration (3 credits); List of solutions to be implemented (1 credit for each, when it is verified in more than 75% of the cases, plus one credit in case the products have certification of class A, two if they have class A + and three if they have class A ++): 1. Use of mixer taps and flow reducers; 2. Efficient equipment; 3. Double flush toilet; 4. Waterless sanitary system; 5. Use of rainwater for secondary consumption; 6a. Monitoring systems (in addition to water meters and accessibility to users); 6b. Leak detection systems with high frequency (time) and prevention modes; 6c. Zone control and cut-off system (insulated from leaks); 7. Automated and efficient irrigation system (regular maintenance, drip-by-drop); 8. Separation systems for potential recycling of gray and black water (3 credits). | drinking water consumption levels (l / hab.dia) and No. credit | [0 - 19 or 85[ and compliance with at least 8 credits | [19 - 47.5 [ and compliance with 6 credits | [47.5 - 95 [ and compliance with 5 credits | [95 - 119 [ and compliance with 3 credits | [119 to 142.5 [and compliance 2 credits | [143.5 to 167 [and compliance 1 credit | [167 - 190[ | [190 - 214[ | ≥ 214 | Use water rationally for service, ensuring efficient systems.
|  | P 11 | Local water management | Promote the management of local waters, including local run-offs before and after credit, and draw up a list of measures implemented to reduce run-off and ensure effective management of local waters. Define rainwater consumption in liters per inhabitant (% or equivalent) in the building. | Rainwater and site management in the building and lot: 1. Local water management plan with filtration (1 credit); 2. Retention, treatment of water (if necessary) and discharge of runoff water on site (2 credits); drainage of an own system other than the municipal one (1 credit); 3. Collection of rainwater in waterproofed areas where there is no circulation, namely in the roof, roof with unused terraces, among others (1 credit); 4. Use of it for irrigation, recirculation, washing of floors, among others (1 credit); 5. Use of sedimentation ponds, swimming pools, infiltration basins or swamps (1 credit); 6. Implementation of sustainable drainage systems (3 credits); 7. Control of run-off and solid flow (2 credits). | Percentage of total consumption, from rainwater in l/hab.day (percentage or equivalent) in the building | »[90 - 100]% reduction of the immediate runoff from rainwater or water line at the property; »Application of at least 5 of the mentioned measures, being obligatory the treatment and direction (> 50% for both) for own basins. | »[75-90 [% reduction of the immediate runoff from rainwater or water line on the property; »Application of at least 4 of the above measures, including one for treatment and targeting for basin or similar. | »[50 - 75 [% reduction of the immediate runoff from rainwater or water line on the property; »Application of at least 3 of the above measures: among which, a treatment and steering for basin or similar. | »[37.5 - 50 [% reduction of the immediate rainwater or water line on the property; »Application of at least 2 of the above measures. | »[25 - 37,5 [% reduction of the immediate water runoff for rainwater or water line on the property; »Application of at least 1 of the above measures. | »[12.5 - 25 [% reduction of the immediate runoff from rainwater or water line at the property. | »[0 - 12.5 [% reduction of the immediate runoff from rainwater or water line on the property. | »[0 - 12.5% ​​increase in the immediate water runoff for rainwater or water line on the property. | ≥ 12.5 increase in the immediate water runoff for rainwater or water line on the property. | Contribute to manage water locally.
| Materials | P 12 | Products and materials of responsible origin | Promote the use of environmentally certified materials, with environmental practices or produced in the region or in Portugal. | Percentage of materials, compared to the total used of responsible origin (low impact, certified or locally produced with environmental care) Bonus: Promote the use of secondary materials. Promote the use of natural materials (with a reduced impact). Use product and LCA environmental statements. Disclosure of materials, contents and impacts. Reduce or avoid products with toxic materials (CFC, mercury: ex. T9, T10 and T12 fluorescent lamps) US99 Lead, Cadmium and Copper, among others. | % (kg / kg) of the materials intended to be used. Percentage of materials considered responsible. | [90 - 100] % | [75 - 90[ % | [50 - 75[ % | [37,5 - 50[ % | [25 - 37,5[ % | [12,5 - 25[ % | [10 - 12,5[ % | [5- 10[ % | [0-5[ % | Increase the durability of materials, constructive solutions and systems, in cases that are not temporary, throughout their lifetime.
|  | P 13 | Durability of built environments | Increase the durability of materials used in the building compared to common practice, measuring their life span. Or more durable materials and solutions to avoid their degradation by the different agents (physical, environmental and others) throughout their life cycle. Adjust the materials to the conditions (exterior, bathrooms, ...). To design using criteria for the durability and protection of materials to different physical agents, environmental, such as solar radiation and water, biological (pests, insects, vegetation), pollutants, degradation processes (for example corrosion) | Relevant factors: structure, plumbing, finishing and common equipment, on average (elevators, electrical installation, interior and exterior sensors, solar panel, photovoltaic, effluent treatment, boiler, etc.), the durability of the structure and finishes are considered more relevant than the others. This consideration is very much due to the fact that innovations are constantly occurring at the equipment level and the low weight of the pipes compared to other materials. Check that at least 50% of factors are considered. Measures to ensure the protection and durability of materials against physical impact (vehicles, vandalism, ...) and against environmental factors. Studies and solutions for life-cycle extension (2.2 EU common structure). Protection of materials and vulnerable zones, physical damage (eg movement of vehicles), degradation of materials including acts of vandalism and graffiti, protection against overuse UK 292 (bonus). | Lifetimes | Lifetimes: structure and finishes - more than double, compared to level E | Lifetimes: structure - 100 years; finishes - 30 years; equipment - 25 years and plumbing - 50 years | Lifetimes: structure - 100 years; finishes - 20 years; equipment - 20 years and plumbing - 40 years | Lifetimes: structure - 100 years; finishes - 10; turn equipment and plumbing - 30 years | Lifetimes: structure - 75 years; finishes - 7 years and 1/2; equipment - 15 years and plumbing - 30 years | Lifetimes: structure - 75 years; finishes - 7 years and 1/2; turn equipment and plumbing -20 years | Lifetimes: structure - 50 years; finishes - 5 years; equipment - 10 years and plumbing - 20 years | Lifetimes of the structure and finishes lower than those defined at level E, even if the equipment and plumbing comply with this level | Life times of each of the four areas considered lower than those defined at level E | Promote the use of materials with good environmental performance and other responsible origins.
| Food Supply | P 14 | Contribution to local food production and access | Allow local production of diversified foods in the building | 1. Locations where food production exists: The. coverage - 1 credit B. patio - 2 credit d. balconies - 1 credit W. greenhouse - 2 credits 2. Existence of food production storage locations - 1 credit; 3. Provision of equipment necessary for food production (flowerpots, water points, etc.) - 1 credit; 4. Diversity of food production: The. Vegetable foods: cereals, fruits, vegetables, nuts, spices, vegetables, herbs, etc. - 1 credit for each type of plant food produced; B. Food from animals: milk, eggs, mammalian meat, poultry meat, etc. - 1 credit for each type of animal feed produced; 5. Places in the interconnected environment (physical or by agreement) that can guarantee food - 2 credits; 6. Promotion of local products (existence of a local product sales outlet, within a radius of 30 km) - 2 credits. | No. credits | ≥ 12 credits were implemented, and at least 2 foods are animals | implemented between [10-12 [credits, and at least 1 food is animal | implemented between [8-10 [credits | implemented between [6-8 [credits | implemented between [4-6 [ | implemented between [2-4 [credits | implemented between [0-2 [credits | There is no local food production |  | Consider the possibility of producing food (or aromatic herbs). Promoting the use of local food or facilitate their access.
Management of Environmental Loads (Emissions) | Wastewater | P 15 | Wastewater management | Use of water reused for irrigation of green areas and other outdoor areas, flushing supply, etc., since it is not put in danger to human health, environmental and other associated structure (animals, vegetation). | Network system separating gray and black waters (bonus). Determine the flow of effluents produced in liters / hab.day and determine the quantity that is treated in the surrounding (or local) urban area. [Note: When one of the treatments (municipal, multi-municipal or local) is lower than the secondary, automatically sorting descend one level] water reuse Percentage used, except the water from the rain (everything that comes out of the treatment plant and is reused, regardless of recirculation). | Percentage of wastewater treatment carried out on site and the remainder sent to the municipal collection system (treatment must always be at least secondary or suitable for its next use) Percentage of reuse of waste water (m3 / day / m3 / day) | [90 - 100]% of treated wastewater serves the indoor / outdoor activities of the building that do not require drinking water | [75 - 90 [% of the treated wastewater serves the indoor / outdoor activities of the building which do not require drinking water | [50 - 75 [% of treated wastewater serves the activities to be carried out inside / outside the building which do not require drinking water | [37.5 - 50 [% of the treated wastewater serves the indoor / outdoor activities of the building which do not require drinking water | [25 - 37.5 [% of the treated wastewater serves the indoor / outdoor activities of the building which do not require drinking water | [12.5 - 25 [% of the treated wastewater serves the indoor / outdoor activities of the building which do not require drinking water | [0 - 12.5 [% of the treated wastewater serves the indoor / outdoor activities of the building which do not require drinking water | There is no treatment |  | Reduce wastewater, separate gray and black waters, treat and reuse treated pre-water.
| Waste | P 16 | Waste management | Encourage the integration of users in defining the specification of finishing solutions to reduce waste intervention and production needs. Reduce the amount of waste produced and foster the 4Rs hierarchy, boosting its value. | Encourage the integration of users in defining the specification of finishing solutions to reduce waste intervention and production needs. If different users are involved consider the bonus. 4Rs Hierarchy Application: >> Reduce the amount of waste produced during the analysis phase. Or subsequently >> Ensure the possibility of recovery Promote the possibility of development secondary materials (bonus). | Percentage reduction in waste production (kg / m2 total area) or recovery | [90 - 100]% with measures to reduce structural waste | [75 - 90[% | [50 - 75[% | [37,5 - 50[% | [25 - 37,5[% | [12,5 - 25[% | [0 - 12,5[% |  |  | Reduce the amount of waste and create the conditions to be able to recover, reuse, recycle and recover materials and energy (4Rs).
| Other emissions | P 17 | Noise management | Identify sources of noise from internal sources (for Buildings or Rehabilitation) or external sources (for Communities or public space) (for the operating phase) and reduce the noise levels produced | Implement solutions to reduce noise emissions to exterior: 1. Equipment: a. Silent indoor equipment (sound power less than 50dB) (up to 50% of equipment - 1 credit, more than 50% of equipment - 2 credits) b. Silent outdoor equipment (sound power less than 50dB) (up to 50% of equipment - 1 credit, more than 50% of equipment - 2 credits) 2. Silent exterior pavements (up to 50% of the pavement - 1 credit, more than 50% of the pavement - 2 credits) 3. Noise reduction elements in equipment (up to 50% of equipment - 1 credit, more than 50% of equipment - 2 credits) 4. Adequate location of equipment that produces noise (up to 50% of equipment - 1 credit, more than 50% - 2 credits) 5. Deflectors that reduce the propagation of sound (up to 50% of noise-producing equipment - 1 credit, more than 50% - 2 credits) 6. Placement of suitable insulation on the interior or exterior walls surrounding the noise emitting equipment (1 credit between [0 - 25]% of walls, 2 credits between] 25 - 50]%, 3 credits between] 50 - 75]%, 4 credits in] 75 - 100]%) | dB(A) | ≥ 13 credits were implemented to reduce noise emissions to the exterior | implemented between [11-13 [credits to reduce noise emissions to the exterior | implemented between [7 - 11 [credits to reduce noise emissions to the exterior | implemented between [5-7 [credits to reduce noise emissions to the exterior | implemented between [4-5 [credits to reduce noise emissions to the exterior | implemented between [2-4 [credits to reduce noise emissions to the exterior | implemented between [0-2 [credits to reduce noise emissions to the exterior | No measures have been implemented to reduce noise emissions to the exterior |  | Reduce noise sources and manage acoustic emissions (location, schedules, insulation).
|  | P 18 | Management of atmospheric emissions | Elimination or reduction of devices operating with combustion stoves, water heaters, boilers, tobacco smoke, transport, particles carried in the feet and carpets, vehicles parked inside. | Elimination or reduction of combustion equipment: stoves, water heaters, boilers, transport. [Emission level E: 5.95 g / m2.NOx and 0.63 g / m2.SO2] 1. Measures implemented (1 negative credit for each - if it registers up to 25% of the housing, if it is up to 25 - 50% add another 1 credit, if up to 50 - 75% add another 2 credits and if for more than 75-100% plus 3 credits): The. existence of fireplaces, B. gas heaters, W. outdoor heaters with bilge, d. gas stoves, and. water heaters / boilers f. tobacco smoke allowed, g. vehicles parked inside the building area. | ETS emission level E: 3.98 Gg /year NOx and 0.42 Gg /year SO2, that is: 3.98x10^9g /year SO2 and 0.42x10^9g /year NOx. Housing: 669236143 m2. What means after the reduction: 5.95 g / m2.year SO2 and 0.63 g / m2.year | Proof of reduction of at least 90% of SO2 and NOx emissions compared to current practice | Proof of reduction of at least 75% of SO2 and NOx emissions compared to current practice | There were situations and equipment that totaled up to 10 negative credits | The occurrence of situations and equipment that totaled between 10 and 13] negative credits | The occurrence of situations and equipment that totaled between [13 - 16] negative credits | The occurrence of situations and equipment that totaled between [16 - 19] negative credits | There were situations and equipment that totaled at least 20 negative credits |  |  | Reduce sources of atmospheric emissions, their loads and toxicity, if possible take advantage of thermal or other components.
|  | P 19 | Other loads | Reduce heat island effect and lighting | Thermal effects (each measure implemented up to 50% of area - 1 credit, more than 50% of area - 2 credits): 1. Exterior: a. Placing shadows on impermeable and / or dark areas; b. Minimization of impermeable surfaces: roads, sidewalks and outdoor car parks; c. Existence of underground or overhead parking with shading instead of open parking; d. On the exterior, application of building materials appropriate to local weather conditions. Take into account: reflectance (albedo); emissivity (thermal radiation). e. Presence of afforestation; 2. Interior: a. Facades, roofs and / or roof, walks / common outdoor spaces (1 credit for each element with light colors OR 2 credits for each element with vegetation); b. Adequate layout and morphology of the building compared to predominant local breezes / winds (1 credit); c. Existence of an adequate relation between the surrounding buildings that allows the air circulation between them. The greater the free area between them, the greater is the attenuation effect of the "heat island" (1 credit); d. Existence of water bodies with medium / high impact in the reduction of the local temperature (s) (1 credit). Lighting effects (each measure implemented up to 50% - 1 credit, more than 50% - 2 credits). 3. Use of luminaires with adequate intensity and whose projection of light only affects the area to be illuminated. 4. Control of the type of illumination liable to harm human and natural habitats (eg advertising, luminous panels); 5. Possibility of lighting control: intensity and lighting times. | No. credits | ≥ 20 credits, and at least 4 credits in lighting | Between [17 - 20 [credits, and at least 2 credits in lighting | Between [14 - 17 [credits, and at least 1 credit in lighting | [11 - 14[ credits | [8 - 11[ credits | [4 - 8[ credits | [0 - 4[ credits |  |  | Reducing the heat island effect and lighting (avoid radiant pollution).
Quality of Service and Resilience | Quality of service | P 20 | Environmental quality and other aspects | Ensure air quality, comfort, acoustic levels. Reducing the risk of hazardous chemicals (VOCs, Halogenates, Biocides, Persistent Organic Pollutants (POPs) (DE 107 Matrix Env1.2). Ensure the quality of the construction, plan and measures of control and measurement (bloor door test, thermal image, deburring, index of reduction of noise, other measurements) DE566. Measures to prevent fungi and other problems if relevant. Solutions and performance certificates. | Measures to be applied: 1. Natural ventilation rate adjusted to suit local activity (2 credits); 2. Correct arrangement of the interior spaces of the building that enhances the natural ventilation, namely the crusade (up to 50% of the area: 1 credit, more than 50% of the area: 2 credits) 3. Reduce or eliminate potential contaminants from the indoor environment: microorganisms in kitchens, radon, legionella, asbestos, fungi and molds, tobacco smoke, pesticides, particulates and lead: less than 50% of the contaminants: (1 credit). 4. Less than 15% of the materials applied have VOCs (1 credit), 5. Existence of a control plan to control VOCs (1 credit). | Percentage | Average levels above 90%. See P20 | Average levels above 75%. See P20 | Levels greater than 50%. See P20 | Levels above 37.5% of mininum. See P20 | Levels above 25% of mininum. See P20 | Levels higher than 12.5% of min. See P20 | There is some factor that does not ensure the minimum levels. See P20 | More than one does not insure the levels. See P20 | More than three do not ensure minimum levels. See P20 | Ensure environmental quality, comfort and associated services.
|  | P 21 | Safety and control of risks (human) | Application of measures of control and inhibition of crime and vandalism in two distinct but complementary aspects: building and adjacent public space, and measures at the level of public space are the most preponderant. These measures can be organized in areas related to lighting, surveillance, space permeability and fields of view in that same space. | Carry out measures to reduce crime and vandalism in the building and adjacent areas: 1. Existence of well-lit spaces, monitored and with an open field of vision (between [0-33]% of total external space - 1 credit, between] 33 - 66]% - 2 credits and between] 66 - 100]% - 3 credits); 2. Buildings with facade and main access entered in front / street (between [0 - 33]% of buildings, or total facades of the building - 1 credit, between] 33 - 66]% - 2 credits and between] 66 - 100 ]% - 3 credits); 3. Establishment of opening / closing times in areas where security / crime is difficult to control: interior courtyards (up to 50% of the total yard area - 1 credit and more than 50% - 2 credits). 4. Active Threat Control: a. CCTV Surveillance System in outdoor spaces [0 - 30]% - 1 credit, between] 30 - 60]% - 2 credits,] 60 - 100]% - 3 credits; b. Existence of Fire, Metals and Intrusion / Presence detectors - 2 credits, for each, when they occur in at least 50% of spaces with public access, otherwise 1 credit; c. In case there are vigilantes with capacity for action (security companies), add 1 credit. 5. Fire control and protection mechanisms and emergency intervention, add 4 credits. 6. Accident risks arising from hazardous substances and activities: Adoption of evaluation processes and protection mechanisms, 4 credits. | No. credits | The implementation of 16 credits was verified. | [13 - 16[ credits | [10 - 13[ credits | [8 - 10[ credits | [6 - 8[ credits | [3 - 6[ credits | The implementation of at least 2 credits was verified in the control area | The implementation of at least 1 credit was verified in the control area | There was no credit | Ensure an adequate level of security against human risks (intrusion and others).
| Structural Adaptation | P 22 | Climate adaptation and other natural hazards | Assess risks and modes of adaptation. Adapt to the existing natural risks and avoid the risks inherent to the architectural solutions adopted. The possibility of an involuntary accident should be reduced or zero, so that particular attention should be paid during the planning and construction phase of the building to avoid the construction or application of potentially dangerous elements or are not sufficient to prevent or inhibit the consequences of natural threats. Analysis of disasters and impacts resulting from prevention, preparedness and emergency action. | Identification and evaluation of climatic and other hazards and risks and adaptation plan (bonus). Analysis of disasters and impacts resulting from measures of prevention, preparation and emergency action (bonus). Solutions to reduce natural risks: 1. Identification of natural hazards in the design stage and presentation of solutions to extreme climatic phenomena of temperature (2 credits and 4 credits ensures structurally comfort conditions). 2. Adaptation and safety in view of the risks of increased rainfall (2 credits if partially considered and 4 credits if considered structural for floods of 200 years). Alternative consider 95% percentile and 98%. 3. The adaptation and safety to wind risk (2 credits if considered partially and 4 credits if it was considered structural for winds of the order of 100 km / h). 4. Adaptation and safety against fire risk, seismic risks (2 credits if partially considered and 4 credits if considered structural). 5. Adaptation and safety in relation to sea level rise (2 credits if considered partially and 4 credits if considered structural), when applicable. 6. It has a formal proactive plan to identify natural risks (2 credits), development, training and implementation (4 credits). | No. credits | ≥ 14 credits | 12 credits | 10 credits | 8 credits | 6 credits | 4 credits | 2 credits | No credits were implemented in order to verify the number of parameters mentioned |  | Contribute to reducing potential extreme effects and adaptation to climate change, as well as ensuring reduction to other natural hazards.
|  | P 23 | Resilience and adaptation | Ensure diverse systems that allow to maintain the natural and human service, adjusting to variations, in an evolutionary logic. To value the efficiency factor in the use of space (DE 239). | Solutions to reduce natural risks: 1. Study on resilience and adaptive capacity in the design phase (or others) in the face of water scarcity (natural or service), natural (2 credits) and human (2 credits) and ways of evolving ( 4 credits). 2. Resilience due to difficulties in securing energy service (2 credits if secured for 10% of base value and 4 credits assures more than 25% of essential needs). 2b. Preparation for the possibility of installing renewable energies (2 credits), distribution systems and reserved location. 3. Resilience due to difficulties in securing other services (waste, food, medicines) (2 credits if partially considered and 4 credits if considered structural). 4. Resilience and security against seismic risks (2 credits if considered partially and 4 credits if considered structural). 5. Space efficiency factor: 4 proportional credits between the reference values (Ex-Housing ≤ 0.60 - ≥ 0.80; Offices ≤ 0.48 - ≥ 0.75) (DE239) 6. Ease of access for intervention in energy, water and other systems (2 credits). | No. credits Space efficiency factor: Proportion of area used (AU) by gross building area (GBC) (DE 239). Usable floor area in accordance with DIN 277-2 | ≥ 14 credits | 12 credits | 10 credits | 8 credits | 6 credits | 4 credits | 2 credits | No credits were implemented in order to verify the number of parameters mentioned |  | Create capacity to find an adequate balance for significant changes in systems and to adapt in a dynamic and evolutionary way.
Socioeconomic Experiences | Accessibility | P 24 | Active mobility | Promote low impact mobility solutions that can be implemented. Qualify infrastructures and service. | Measures to be applied: Plan of analysis of the best ways and optimization for active mobility (4 credits) 1. Pedestrian paths: a. if they exist near the building (1 credit); b. if the dimensions are adequate to the flow of people who, per day, will carry out this route (2 credits); c. if they are totally pedestrian (3 credits). 2. Cycle paths within 100m radius (1 credit); 3. For each of the following two points assign 2 credits if the measure affects up to 50% of the inhabitants and 3 credits if they affect more than 50%: a. Bicycle parking; b. Spas for the parking of bicycles; 4. Existence of exclusive parking spaces for eco-friendly vehicles (2 credits); 5. Charging station for electric vehicles (2 credits); 6. Transfer services (1 credit). 7. Contract service of active mobility solutions (1 credit) or low impact (1 credit) | No. credits | 15 credits | 12 credits (including point 1) | 9 credits (including point 1) | 7 credits (including point 1) | 5 credits (including point 1) | 3 credits (including point 1) | Compliance with point 1 | Very precarious and insecure pedestrian access | No pedestrian access | Contribute to the development and access systems and solutions of active mobility (pedestrian, cycling, etc.).
|  | P 25 | Efficient transport systems | Access to public transport or creation of access to this node, in specific cases creation of own public transport mechanisms and distance to them. Qualify infrastructures, modes of transport and assured service. | Determine the amount of public transportation and how far away they are from the location. Check their frequency. Define Plan of analysis of the best ways and optimization for the transport systems (up one level). Intelligent transport systems with schedules and interconnected connections. Efficient systems from the point of view of emissions to air and noise (up one level). Facity of parking bicycles and electric vehicles. Promotion of electromobility (low carbon). Services for Poolshare Cars, Hybrid Cars or Green Fuels (electric, biodiesel, hydrogen, etc.). | No. of public means of transport (at least hourly) and distance to them | Location less than 500m from a public transport node with 3 different transport types and other means of transport at the same distance | Location less than 500m from a public transport node with 3 different transport types | Location less than 500m from a public transport hub | Existence of 3 means of public transport regular up to 500m, providing connection to a node of public transport. | Existence of 2 means of public transport regular up to 500m. | Existence of 1 means of public transport regular up to 500m. | Only 1 regular public transport is available, between 500 and 1000m | No regular public transport facilities up to 1000m |  | Promote access and development of efficient public transport.
| Space for all | P 26 | Inclusive built areas | Reducing sites with potential problems of accessibility and movement and identifying the inclusive solutions adopted with a view to their resolution. Reduce existing barriers. | Project and maintenance designed for inclusive solutions (2 credits). Consider 1 credit for each measure if they are represented> 50% of the total area: Safety: 1. Natural lighting (day) 2. Artificial lighting (night) 3. Wide and continuous tours 4. Shading by vegetation 5. Protection of winds through vegetation 6. Reduced speed and traffic 7. Public video surveillance system Consider 1 credit for each measure if they are represented> 50% of the total area: Accessibility: 1. Signage, in particular in braille, maps, information boards 2. Differentiation of pavements (ex: paved paving, alternating between sidewalk and slab) 3. Lowered sidewalk 4. Cyclable tracks 5. Urban furniture (benches, drinking fountains, waste containers; 6. Exhibitions of arts, culture. | No. credits | It satisfies 10 credits, including braille signs | Satisfies 8 credits | It satisfies 6 credits, including exhibitions of art and culture | Satisfies 4 credits | Satisfies 3 credits | Satisfies 2 credits | It satisfies 1 credits |  |  | Buildings with accessibility for all, ensuring inclusivity solutions.
|  | P 27 | Inclusive spaces - Accessible and safe streets and public spaces | Development of safe and accessible public spaces. | Project and maintenance designed for inclusive solutions (2 credits). Criteria to be applied: 1. Clearly defined routes: Rides, Treks, Cycle routes, other zones - 2 credits 2. Routes and Inclusive Spaces (people with special mobility: rides, traffic lights, walkways), children, seniors, etc.2 credits for routes and 2 credits for spaces 3. Areas adequately lighted. 2 credits 4. Areas with protection of climateric agents (wind, sun,) - 2 credits 2. CTCV or other safety systems, adequate night lighting, - 2 credits 5. Safe design of public areas (protections and other mechanisms) - 2 credits | No. credits | Satisfies 10 credits | Satisfies 8 credits | Satisfies 6 credits | Satisfies 4 credits | Satisfies 3 credits | Satisfies 2 credits | It satisfies 1 credits |  |  | Contribute to secure safe and accessible public spaces (common or not).
| Social vitality | P 28 | Flexibility and complementarity of uses | Foster the flexibility of spaces, namely through the availability of accessibility, modular areas, adaptable and expandable to various uses. Complementarity of uses. | Plan of analysis of the flexibility of the spaces, namely through the existence of accessibility, modular areas, adaptable and expandable to various uses (bonus). 1. Structural measures: a. Dissolution of the structural solutions allows different solutions (2 credits). b. Heights, depths, vertical accesses, allowing flexibility (2 credits for each one). (DE 242) c) layout flexibility (2 credits). 2. Measures at indoor level: a. separation walls easily removable inner rooms - less than 50% of the walls (2 credits), more than 50% of the walls (4 credits). b. Existence of spaces with double right foot, in order to allow adaptation of new uses (2 credits); c. Simplified accessibility to water pipes and their control mechanisms (1 credit if it was made for kitchen and 1 credit if for bathroom); d. Concentration of pipes in the same place through couretes (1 credit if it was made for the kitchen and 1 credit if for the bathrooms); e. Pre-installation for air conditioning (for less than 50% of the building - 1 credit and for more than 50% of the building - 2 credits); f. Pre-installation for renewable energy systems or multiplication of plugs for other electronic and telephone equipment (for less than 50% of the building - 1 credit and for more than 50% of the building - 2 credits); g. Balcony availability for other uses (1 credit). 3. Measures at outdoor level: a. Urban furniture easy to remove (up to 50% of furniture: 1 credit, more than 50% of furniture: 2 credits); b. Easily removable deck surfaces (<50% of the surface: 1 credit,> 50% of the surface: 2 credits); c. Modular support elements (1 credit). | No. credits | 16 credits | ]12 - 16] credits | ]10 - 12] credits | ]8 - 10] credits | ]6 - 8] credits | ]4 - 6] credits | [0 - 4] credits | There is no credit |  | Ensure that built environments are flexible and can allow or evolve into complementary uses.
|  | P 29 | Contribution to community well-being (Health, ..) | Conditions of creation of active welfare. Credits that allow the integration and accessibility of the community to the development: make it possible for non-residents of the building to enjoy the natural outdoor spaces of leisure and / or sport, destined to any age group. In certain situations, the use of interior areas of the building that can be accessed by the community (eg interior areas of restoration associated with public outdoor spaces), areas of community interaction are also privileged. | Active living conditions: outdoor areas with adequate physical comfort (slope, floor, ...), visual, thermal, acoustic, accessibility, control of hazards, access to drinking water (1 credit for each). Measures to be implemented: 1. Percentage of buildings (or building) that interact directly with the public space (between [0 - 33]% of the building (s) - 1 credit, between] 33 - 66]% - 2 credits and between] 66 - 100]% - 3 credits); 2. Maximum distance of 500m between building (s) and spaces of leisure and meeting of the population, such as parks, gardens, squares, etc. (between [0 - 33]% of buildings - 1 credit, between] 33 - 66]% - 2 credits and between] 66 - 100]% - 3 credits); 3. Preservation of existing social / cultural activities [only 1 activity] - 1 credit [> 1 activity] - 2 credits; 4. Promote the creation of social and cultural activities that encourage interaction with the community: exteriors (playgrounds and playgrounds) [1 activity only] - 1 credit [> 1 activity] - 2 credits; 5. Interaction inside the building (day center, catering areas, library / media library, ATL ...) [only 1 activity] - 1 credit [> 1 activity] - 2 credits. | No. credits | At least 10 credits have been implemented, including exterior activities | [8 - 10 [credits, including exterior activities | [6 - 8 [credits, including exterior activities | [4 - 6 [credits, including exterior activities | 3 credits were implemented | 2 credits were implemented | 1 credit was implemented | No credits were implemented to verify the desired parameters |  | Ensure good health and well-being conditions in common spaces and in the community.
|  | P 30 | Social responsibility (and vitality) | Promote interconnection to the community. Contribution to community (Place with positive image for community, or with municipal impact, ...). Possibility of generating synergies; Dynamic mechanisms of social vitality. | Measures to consider: 1. Outdoor space for leisure and recreational activities (eg playground, community garden) - 2 credits; 2. Outdoor green spaces (eg picnics, viewpoints) - 2 credits; 3. Local commerce (eg: cafe, restaurant, bar, supermarket) - 1 credit; 4. Indoor and outdoor space for culture (eg handicrafts, urban art, painting, book club) - 2 credits; 5. Interior space for social activities (eg food collection, clothing, books, screenings) - 1 credits. | No. credits | Implemented at least 7 credits, including space for social activities | Implemented at least 6 credits | Implemented at least 5 credits | Implemented at least 4 credits | Implemented at least 3 credits | Implemented at least 2 credits | Implemented at least 1 credit | No measures have been implemented |  | Promote interconnection with the community and contribute to socially responsible actions and encourage vitality.
| Amenities and culture | P 31 | Friendly amenities | Take advantage of the proximity of amenities (or contribute to your access and if possible for your development). To quantify the natural and human amenities existing in the surroundings of the neighborhood (radius from 500m to 1000m). Determine the distance to each of these amenities, according to a route that can be easily walked on foot. | Determine the distance to each of these amenities, according to a route that can be easily walked on foot. 1. Existing natural amenities: » urban park(1 amenity), woods (1 amenity), river (1 amenity), temporary pond (1 amenity), lake (1 amenity), sea (1 amenity), greenway, bike path (1 amenity). 2. Existing human amenities: supermarket (1 amenity), local food store (1 amenity), pharmacy (1 amenity), public health unit (1 amenity), nursery school, primary and / or secondary school (1 amenity), fire station (1 amenity), police station (1 amenity), public transport (1 amenity), frequent public transportation, minimum 6 hours / one way (1 amenity), children's playground (1 amenity), DIY store (1 amenity), railway station, bus station, boat station (1 amenity), post office (1 amenity), bank (1 amenity). | No. existing amenities | Existence of more than 5 human amenities, including at least one food store and pharmacy, and the existence of at least 5 natural amenities up to 500m | Existence of more than 5 human amenities, including at least one food store and pharmacy, with at least 4 natural amenities up to 500m | Existence of 3 to 5 human amenities, including at least one food store, and existence of 3 natural amenities up to 500m | Existence of at least 3 human amenities, including at least one food store, with 2 natural amenities up to 1000m | Existence of at least 3 human amenities and existence of 1 natural amenities up to 1000m | There are up to 3 human and / or natural amenities at a distance of 500m | There are up to 3 human and / or natural amenities at a distance of 1000m | There are no amenities (human or natural) at a distance of at least 500m | There are no amenities (human or natural) at a distance of at least 1000m | Contribute or create the conditions to have friendly amenities or guaranteed access to them.
|  | P 32 | Contribution to culture and identity | Valuing culture and identity. | Consider 1 credit for each solution: 1. Architectural trace; 2. Materials a) pallet of colors; b) stone (ex: limestone in lisbon, granite in Porto); c) vegetation (eg preservation of a centenarian tree, native species); d) structure (ex: preservation of masonry in stone, reinforcement of vaults); 3. Preservation and promotion of local identity activities. | No. credits | It satisfies 6 credits | It satisfies 5 credits | It satisfies 4 credits | It satisfies 3 credits | It satisfies 2 credits | It satisfies 1 credit | Does not satisfy any credit |  |  | Value culture and identity (constructive solutions, information, etc.).
| Green Economy (and Sustainable) | P 33 | Low life cycle costs | Promote a good relation between cost/quality of materials, equipments, systems, existing elements in the building | Make the costs of life cycle costs in the planning or design a horizon of life 50 years (2 credits). It includes a cost optimization process in the life cycle (2 credits) Solutions of high environmental performance with low operating costs (if available value of operation cost per m2), or measures to be applied: 1. Selection of equipment with low operating costs (eg lighting: use of low-energy bulbs / luminaires), refrigerator and others, (up to 50% of systems: 1 credit, more than 50%: 2 credits). 2. Energy and water saving systems (up to 50% of systems: 1 credit, more than 50%: 2 credits). 3. Sufficient choice of durable and durable materials with a long shelf life (up to 50% of materials: 1 credit, more than 50%: 2 credits). 4. Use of materials with high recyclability (aluminum, iron and wood) (up to 50% of materials: 1 credit, more than 50%: 2 credits) 5. Correct application of the materials according to their durability and the requirements to which they are submitted (1 credit). 6. Selection of materials and systems for easy maintenance (eg use of photocatalysis in self-cleaning materials), (up to 50% of materials: 1 credit, more than 50%: 2 credits). 7. Real-time dynamical systems for contracting green (or low-impact) energy, which can be purchased at a reduced cost (1 credit) 8. Installation of meter for drinking water and water for other uses (irrigation, etc) (1 credit) | Euros/m2 or No. credits | At least 10 credits | 7 credits | 5 credits | 4 credits | 3 credits | 2 credits | 1 credit |  |  | Developing lower cost solutions in the life cycle (from the initial phase to final).
|  | P 34 | Contribution to circular economy | Contribute to circular economy and local activities. | Create a green or sustainable procurement program (local incorporation) or promote circular economy products. Specification of the requirements covering part of the procurement requirements or maintenance contracts: 2 credits if there is and is applied part of the requirements and if in the totality of the requirements 6 credits. Consider 2 credits for each solution implemented: 1. regeneration (vegetation, water) 2 sharing (energy, materials, equipment) 3. optimization (efficient equipment, 'green' purchases) 4. circuit (recycling) 5. Virtualization (app's) 6. exchange 7. Generalized signaling | No. credits | At least 10 credits | 7 credits | 5 credits | 4 credits | 3 credits | 2 credits | 1 credit |  |  | Contribute or create conditions for the circular economy and endogenous local activities.
|  | P 35 | Contribution to green jobs | Create conditions to empower and encourage local economic activities. Reducing social inequalities at the local level by identifying and adapting solutions for their resolution. Encourage the establishment of economic activities relevant to the development of the area. | 1. In contact with exterior spaces: a. Street front / square with economic activities (1 credit for 25% of the front if it is of temporary form and 1 credit for 10% of front perimeter if they are permanent activities); 2. In the building and other areas of the lot: a. Capacity of the building to monetize by renting common outdoor / indoor spaces or by selling energy produced through renewable sources (0-50 [% of the condominium costs are charged by revenue - 2 credit and between] 50 - 100] % 4 credits); b. Diversity of typologies (at least 3) and diversity of fire value in the same building (between] 25-50]% - 1 credit, between] 50-100]% - 2 credits); c. Possibility of rent with accessible rents for the middle class and younger population (between [0 - 50]% of the total of the fires - 1 credit, between] 50 - 100]% - 2 credits. | No. credits | 16 credits | 13 credits | 10 credits | 7 credits | 5 credits | 3 credits | 1 credits | There is no credit |  | Contribute or create conditions for greener services and activities and / or local employment.
Sustainable Use | Connectivity | P 36 | Connectivity and Interaction (Digital Systems) | Connectivity and Interaction (Digital Systems) | Integrated communication and control systems: energy, comfort, water and other systems, with set points and adjusted to profiles (2 credits for each one). Consider 2 credits for each solution / valence implemented. Outside: 1. free wi-fi; 2. information board (maps, transport); 3. interactive kiosks (maps, transportation, restaurants, shops, points of interest); - »digital signage (informative screen) 4. app's transports, irrigation system, meteorology, news, geolocation 5. 5G network Inside: 1. free wi-fi; 2. interactive kiosks (maps, transportation, restaurants, shops, points of interest, meteorology, news); 4. control and management of the operating system »Smoke detectors, »Temperature, » ventilation, »Brightness, »Video surveillance, »Energy, » Water, »Equipment (appliances, elevators), » parking, 5. remote access 6. 5G network Consider 1 credit for signaling connectivity solutions. | No. credits | 13 credits | 10 credits | 8 credits | 6 credits | 5 credits | 3 credits | 1 credits | There is no credit |  | Ensure the possibility of digital connectivity, functions and interaction resulting in a safe and appropriate manner.
| Sustainable management | P 37 | Information management for sustainable performance | Survey and quantification of the information regarding the mode of operation and management of the building that are made available to the occupants of the building and responsible for the maintenance. This information shall include data on environmental aspects, equipment operation, maintenance specifications, general building data and construction data. Possibility of having a sustainability guide, information system and technical manual. | Possible information to be made available: Description of the most appropriate modes of use (2 credits). Manual integrated with the documentation and modes of use for sustainability (6 credits). It should also be considered additionally accounting for the following aspects: 1. plants: architecture, electrical installations, air conditioning and sanitary (1 credit for less than 50% of the housing and 2 credits for more than 50% of the housing, to add 1 credit if also available from the common areas); 2. operating manuals of the equipment of the dwellings: air conditioning, dishwashers, washing machine, etc. (1 credit for less than 50% of the equipment and 2 credits for more than 50% of the equipment, if it is verified for less than 50% of the dwellings, if it is verified for more than 50% of the dwellings, the first one goes to 2 and the second to 3 credits); 3. manuals on common equipment (1 credit for less than 50% of equipment and 2 credits for more than 50% of equipment); 4. indications relating to the use, profitability and maintenance of special elements not included in the structure: eg thrombus walls, buried pipe ventilation, solar panels, sensors, etc. (1 credit for less than 50% of the elements and 2 credits for more than 50% of the elements, if it is verified for less than 50% of the dwellings, if it is verified for more than 50% of the dwellings the first becomes 2 and the second to 3 credits); 5. indications concerning structural elements and maintenance (1 credit for less than 50% of the elements and 2 credits for more than 50% of the elements); 6. indications related to the deactivation of equipment and materials and their corresponding revaluation (1 credit for less than 50% of the elements and 2 credits for more than 50% of the elements); 7. Awareness and explanatory information on the minimization of resource consumption and the production of cargoes, namely water consumption, energy consumption, recycling, use of harmful products, etc. (1 credit for the existence of this type of information for less than 50% of the dwellings and 2 credits for the existence of this type of information for more than 50% of the dwellings); 8. information in the common areas (1 credit) and interiors (for less than 50% of the dwellings - 1 credit and for more than 50% of the dwellings - 2 credits) on the alarm, fire and evacuation system. | No. credits | Information corresponding to ≥ 16 credits from the attached list was made available | Corresponding information was provided between [13 - 16 [credits from the list annexed | Corresponding information was provided between [11-13 [credits from the attached list | Corresponding information was provided between] 11 - 8] appropriations from the attached list | Corresponding information was provided between] 8 - 6] credits from the attached list | Corresponding information was provided between] 6- 3] credits from the attached list | Corresponding information was provided between] 3 - 0 [credits from the attached list | No type of information is available |  | Develop solutions and information for a more sustainable performance of the user.
|  | P 38 | Maintenance and management for sustainability | Environmental management systems, or management modes, including comfort controllability in 5 large areas: Temperature, Humidity, Ventilation, Shading and Illumination. Solutions should be sought that can cover all these areas and promote interaction between them, resulting in improved performance of the built environment and greater effectiveness in achieving adequate comfort levels for users. Accessibility in the cleaning of exterior areas (glazing, roofing, drainage systems and other areas). BIM integration. Existence of management system or manual for the manager (facility manager - FM). FM programs; Infrastructure services: General cleaning; cleaning of glass, facades, gardens, reception, security; Technical services: Operation, periodic review, inspection and services. Cost of energy, municipal taxes. Solutions and modes of management of hazardous or impacted materials (refrigerants, ...), waste. Variation of interventions and maintenance program and seasonal management. | Quantification of measures to provide users with the capacity to control. Reception of solutions with systematic procedures for commissioning and performance testing (2 credits). Services, inspection and updating of existing elements (memoirs, drawings) periodical (annual check) (2 credits) if BIM (4 credits). 1. EXTERIOR - A credit for each of the controlled areas in at least 50% of the area: a. wind, b. shading and c. lighting (natural or artificial). 2. INTERIOR AREAS (main divisions) credits for controllability: (legend: Mo - mechanical without programming, Ma - manual, Mp - programmable mechanical; S - by sensor (automatic) a. Temperature: if Mo - 1 credit, if Ma - 2 credits, if Mp - 3 credits b. Humidity: if Mo - 1 credit, if Ma - 2 credits, if Mp - 3 credits c. Natural ventilation: if Mo - 1 credit, if Ma - 2 credits, if Mp - 3 credits d. Artificial ventilation: if Mo - 1 credit, if Ma - 2 credits, if Mp - 3 credits e. Shading of glazed spans: if Mo - 1 credit, if Ma - 2 credits, if Mp - 3 credits f. Artificial lighting: if Ma - 2 credits, if Mp - 3 credits g. Natural lighting: if Mo - 1 credit, if Ma - 2 credits, if Mp - 3 credits, 3. INTERIOR AREAS (toilets and passage areas) a. Artificial lighting: if Ma - 1 credit, if S - 2 credits 4. COMMON AREAS: a. Artificial lighting: Artificial lighting: if devices are 1 - 1 credit, if S - 2 credits (up to 50% of devices), S - 3 credits (more than 50%) 5. ACCESSIBILITY FOR MAINTENANCE AND CLEANING (2 credits per each): a) Accessibility in the cleaning of exterior areas (glazing or roofing) b) Drainage systems c) Clogged areas (eg radiators and hard-to-reach areas) | No. credits (in order to verify the level of controllability of interior and exterior environment) | ≥ 25 credits | [17 - 25[ credits | [10 - 17[ credits | [8 - 10[ credits | [6 - 8[ credits | [4 - 6[ credits | [1 - 4[ credits | No credits were implemented to verify the level of controllability of the indoor and outdoor environment |  | Implement management and maintenance systems for sustainability.
|  | P 39 | Monitoring and governance | Adopt monitoring systems. Create conditions and implement measures allowing a good interaction with the community, and that this same community (including the resident) have influence in decision-making regarding the management of the building. Or even information to the public about performance. | Measures to be implemented in monitoring: 1. Systematic monitoring system - water, energy, materials, waste, among others - 1 credit for each dimension. 2. If the system is automated continuous or periods shorter than 1 day adds 1 credit in each referred environmental aspect 3. Integrated monitoring and publication system for interested parties plus a 2 credits. Measures to be implemented in governance: 1. Promote in the initial phase of the project a broad exchange of information between the project managers and potential users of the space (2 credits). 2. Promote periodic meetings in the various phases of design and construction between designers and users (2 credits). 3. Team decision-making, in parallel with the consultation of the local population (2 credits). 4. Interaction with the population during the operation phase (eg: Implementation of online systems of the measures (3 credits) 5.Implement a monitoring system with adequate (at least monthly) periodicity for energy, water, materials and waste (3 credits) | No. credits | Satisfies at least 8 credits | Satisfies 6 credits | Satisfies 4 credits | Satisfies 3 credits | Satisfies 2 credits | Satisfies 1 credit | Does not comply with any of the measures |  |  | Communicate performance and engage stakeholders in governance for sustainability by interconnecting to monitoring.
| Marketing and innovation | P 40 | Marketing and innovation | Systematize and analyze structural or timely innovations that have an effective and effective contribution to one or more evaluation criteria, contributing effectively to the improvement of the environmental performance of the building, with the possibility of affecting the area of incidence. Integrate sustainability into the different phases (planning, design, operation and even deconstruction). Evaluation of the life cycle integrated in the solution decision process. | Application of innovative solutions, which not only contribute to the good performance of the project, but also to a certain "brand image" of it. These solutions can also contribute to the deepening of sustainability issues. Solutions integrating sustainability and innovation from the design phase to the rest. Marketing: 1. Evaluation and certification communication plan 2. Sustainability report 3. Disclosures of performance | No. innovative elements | There are at least 6 innovative elements in which 3 fall into one of the following: Environmental Comfort, Resources, Local Integration, Environmental Charges or Socio-Economic Experiences | There are at least 5 innovative elements where 3 are included in one of the following: Environmental Comfort, Resources, Local Integration, Environmental Charges or Socio-Economic Experiences | There are at least 4 innovative elements where 3 are included in one of the following: Environmental Comfort, Resources, Local Integration, Environmental Charges or Socio-Economic Experiences | There are 3 innovative elements in which 2 fall into one of the following: Environmental Comfort, Resources, Local Integration, or Socio-Economic Experiences | There are 2 innovative elements where 1 falls into one of the following: Environmental Comfort or Resources | There is 1 innovative element (regardless of the part in which it is inserted) | No innovative elements were used in the building |  |  | Innovate and promote sustainability. Use sustainability to position itself in the market.